Streamlined Energy and Carbon Reporting

| UK Greenhouse gas emissions and energy use data for the period |  | 1st September 2024 to 31st August 2025 | 1st September 2023 to 31st August 2024 |
| --- | --- | --- | --- |
| Energy consumption used to calculate emissions (kWh) |  | 7427620 | 6896155 |
| Energy consumption break down (kWh) (optional) • gas, • electricity • transport fuel |  | Gas: 5304393 Electricity: 2123227 Transport:98802 | Gas: 5240223 Electricity: 1655932 Transport: 12732 |
| Scope 1 emissions in metric tonnes CO2e Gas consumption Owned transport – mini-buses Total scope 1 |  | 970.492 tC02e | 958.436 tCO2e |
| Scope 2 emissions in metric tonnes CO2e Purchased electricity |  | 375.811 tC02e | 342.861 tC02e |
| Scope 3 emissions in metric tonnes CO2e Business travel in employee-owned vehicles |  | 30.625 tC02e | 3.370 tCO2e |
| Total gross emissions in metric tonnes CO2e |  | 1376.928 tC02e | 1304.667 tC02e |
| Intensity ratio Tonnes CO2e per pupil |  | 0.191 tC02e Per Pupil | 0.217 tCO2e Per Pupil |
|  |  | Quantification and Reporting Methodology:- We have followed the 2025 HM Government Environmental Reporting Guidelines. We have also used the GHG Reporting Protocol – Corporate Standard and have used the 2025 UK Government’s Conversion Factors for Company Reporting. Intensity measurement The chosen intensity measurement ratio is total gross emissions in metric tonnes CO2e per pupil, the recommended ratio for the sector. Evaluation It is difficult to compare direct results from 2023/24 to 2024/25 due to the incorporation of new schools and therefore the growth of the trust however we have continued to reduce our energy usage per pupil across the trust. Measures taken to improve energy efficiency This is the fourth year of energy reporting as a trust. We have continued to invest significantly in the installation of LED lighting across a number of schools. We’ve also increased the knowledge and understanding of our boiler management across all schools to ensure all site managers have the ability to control their boilers to meet the needs of the schools themselves. Further investment is already planned to improve the windows across the trust, many are in poor condition and are insufficient to help reduce C02 emissions. Improvements in external doors are also high on the agenda to be replaced as these again, are insufficient to reduce our emissions. Only when our schools are more thermally efficient can we begin to replace our current gas fired boilers with more eco-friendly solutions. Our plans to install further solar panels on a number of our schools is also underway and this should begin in April/May 2026. |  |